New Energy Quotation

AH-13kW wind and solar hybrid power supply system quotation

| Name | Specification | Parameter | Unit price | Quantity | Total |
| --- | --- | --- | --- | --- | --- |
| AH-13kW Wind and solar hybrid power supply system | AH-10kW Pitch controlled Wind Turbine Body | DC 240V | US$9,100 | 1 set | US$9,100 |
|  | Automatic Electrical Brake | 10kW | US$700 | 1 set | US$700 |
|  | Tower & accessory | Tilt-up tower，12m | US$3,200 | 1 set | US$3,200 |
|  | 3kw solar panel | 150W, 24V | US$108 | 20 sets | US$2,160 |
|  | Solar panel bracket | 150W | US$45 | 20 sets | US$900 |
|  | Wind and solar hybrid Controller | DC240V | US$1,205 | 1 set | US$1,205 |
|  | Inverter | 10KVA, DC240V/AC220V | US$2,599 | 1 set | US$2,599 |
|  | Batteries | 12V, 200ah | US$262 | 40 pieces | US$10,480 |
| Total | US$30,344 FOB Qingdao, China |  |  |  |  |
| Delivery time | Within 15 days after payment |  |  |  |  |
| Warranty | Two years |  |  |  |  |
| Terms of payment | T/T |  |  |  |  |
| Remark | Wind Turbine Body includes: Nose Cone, Blades*3PCS, Hub, Generator, Rotor, Electrical brake, Tail Rod, Tail Vane; Tower & Accessory includes: Mast (Tower), Base Plate, Bolts, Cable etc |  |  |  |  |
| Key Technology | Pitch controlled technology, Tilt-up tower and Automatic electrical bake |  |  |  |  |

AH-10kW pitch controlled wind turbine Power Curve

AH-10kW pitch controlled Wind Turbine Technical Parameter

| AH-10000w Pitch Controlled Technical parameters |  |
| --- | --- |
| Wind rotor diameter (m) | 7.6m |
| Blade material and quantity | Fiber glass reinforced * 3 |
| Rated power / max power (w) | 10000/12000 |
| Rated wind speed (m/s) | 12 |
| Rated rotate speed (rpm) | 220 |
| Working wind speed (m/s) | 3-30 |
| Startup wind speed (m/s) | 2.5 |
| Survived wind speed (m/s) | 60 |
| Working voltage (v) | DC500v AC220V |
| Battery voltage / capcity (v, ah) | 12*42=500/100 |
| Speed regulation method | pitch-controlled |
| Stop method | Automatic electrical brake +pitch-controlled |
| Generator style | Three phase, permanent magnet |
| Wind turbine weight (kg) | 450 |
| AAATower height / weight (m/kg) | 12/1500 |

AH-10kW Wind Turbine Annual Output Power at Different Wind Speed

| Average Wind speed（m/s） | 2.5 | 3 | 3.5 | 4 | 4.5 | 5 | 5.5 | 6 | 6.5 | 7 | 7.5 | 8 | 8.5 | 9 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Annual output power(Kw.h) | 7500 | 10000 | 12500 | 15000 | 17000 | 19000 | 21000 | 22600 | 24300 | 26000 | 27500 | 29200 | 30800 | 31500 |

Project Case Pictures